UNIVERSITY OF CAPE COAST SCHOOL OF MEDICAL SCIENCES

The Water Equivalent of a Calorimeter

Experiment 8 PHY: 103

TITLE: Determination of the water equivalent of a calorimeter.

AIM: To determine the water equivalent of a calorimeter.

APPARATUS: Copper calorimeter with outer jacket, stirrer made from bare copper wire, 0- 100 °C thermometer, electronic mass balance Libror EB-3200s-A , beaker and a stove.

DIAGRAM

THEORY

Heat gained by calorimeter and cold water = Heat lost by warm water

M1Cw (θ3 – θ1) + McCc (θ3 – θ1) = MFCw (θ2 – θ3)

Where

MI = Mass of calorimeter

MF = Mass of warm water

Cw = Specific heat capacity of water

Cc = Specific heat capacity of calorimeter

MICw (θ3 – θ1) + McCc (θ3 – θ1) = MFCw (θ2 – θ3)

But Cc = Cw since the water equivalent is the mass of water that has the specific capacity of the calorimeter

Cw (MI + Mc) (θ3 – θ1) = MFCw (θ2 – θ3)

(M1 + Mc) (θ3 - θ1) = MF (θ2 – θ3)

But MI = M1 – M0   MF = M2 – M1 and Mc = w

(M1- M0 + w)(θ3 – θ1) = (M2 -M1) (θ2 – θ3)

METHOD

The calorimeter and stirrer were initially weighed together. Ice-cold water was then poured into the calorimeter until it was about one-third full, weighed on the Libror EB-3200s-A mass balance, and placed in its outer jacket and left to stand until its temperature was about 15℃ below the room temperature. Meanwhile, some water was heated up in a beaker until its temperature was about 15℃ above the room temperature. The stove was removed from underneath the beaker and after stirring both the warm water and the water in the calorimeter; their temperatures were taken separately and as accurately as possible. Some of the warm water was then poured from the beaker into the calorimeter until it was about two-thirds full. It was stirred and the highest temperature reached by the mixture about 5℃ above room temperature was recorded. The calorimeter with its contents and the stirrer was weighed again.

TABLE OF RESULTS

| Reading |  | Values |
| --- | --- | --- |
| Weight Calorimeter and Stirrer | MO | 54.90g |
| Weight of Calorimeter + Stirrer + Cold water | M1 | 93.80g |
| Weight of Calorimeter + Stirrer +Mixture M2 | M2 | 135.20g |
| Initial temperature of coldwater | θ1 | 24℃ |
| Initial temperature of warm water | θ2 | 44℃ |
| Final temperature of mixture | θ3 | 34℃ |

CALCULATIONS

Let the water equivalent of calorimeter and stirrer = w

Heat gained by calorimeter and cold water = Heat lost by warm water

(M1- M0 + w)(θ3 – θ1) = (M2 -M1) (θ2 – θ3)

w = M2 –M1θ2 – θ3θ3 – θ1  - (M1- M0)

w = 135.2-93.8g × (44-34)℃(34-24)℃ - (93.8 -54.90)g

w =  41.4 g ×10℃10 ℃  -38.9 g

w = 41.4g- 38.9g

w = 2.5 g

SOURCES OF ERROR

- Errors due to the use of impure water.

- Error may be due to heat transfer from hand to the compartment while holding the stirrer to stir.

PRECAUTIONS

- It was ensured that the mixture of warm water and the cold water in the calorimeter was well stirred to ensure uniform distribution of heat before the temperature was read.

- It was ensured that the calorimeter was lagged (put in the outer jacket) to minimize the temperature loss in the water.

- It was ensured that all temperatures were read accurately to obtain accurate results.

CONCLUSION

From the experiment, the water equivalent of a calorimeter is 2.5g

REFERENCES

- Raymond A .Serway, Jerry S. Faughn (2003); College Physics Sixth (6th) Edition, Published By Thomson Learning Company, Canada, Pages 335 - 337 .

- Raymond A. Serway (1998), Principles Of Physics, Second (2nd) Edition, Harcourt College Publishers, Forth Worth, U.S.A. Page 206.

- M.N. Srinivasan, S. Balasubramanian: A Textbook Of Practical Physics.